## MP
Attachment-I | [6 empty] | Attachment-II
Colistemethate sodium powder for solution for injection and | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 18.34 | 16.85 | 12.46 | 18.34 | 15.89 | 12.65 | Plate 1 | 18.98 | 16.76 | 12.58 | 17.98 | 15.91 | 12.54
Plate 2 | 18.27 | 16.39 | 12.76 | 17.98 | 15.97 | 12.64 | Plate 2 | 18.32 | 16.28 | 12.48 | 18.37 | 15.87 | 11.89
Plate 3 | 17.74 | 15.87 | 11.87 | 18.45 | 16.38 | 12.59 | Plate 3 | 17.89 | 15.67 | 12.37 | 18.28 | 16.45 | 12..09
Plate 4 | 18.23 | 16.23 | 12.37 | 18.56 | 16.56 | 12.86 | Plate 4 | 18.43 | 16.49 | 12.86 | 18.93 | 16.78 | 12.34
Plate 5 | 18.37 | 15.96 | 12.84 | 18.42 | 16.54 | 12.49 | Plate 5 | 17.93 | 15.54 | 12.41 | 18.78 | 16.43 | 11.94
Plate 6 | 18.28 | 15.89 | 12.38 | 17.78 | 16.97 | 12.87 | Plate 6 | 18.42 | 16.78 | 12.65 | 17.87 | 16.67 | 12.77
Avg. | 18.205 | 16.1983 | 12.4467 | 18.255 | 16.385 | 12.6833 | Avg. | 18.3283 | 16.2533 | 12.5583 | 18.3683 | 16.3517 | 12.296
SD | 0.2333 | 0.38002 | 0.34523 | 0.30553 | 0.40352 | 0.15175 | SD | 0.39857 | 0.53664 | 0.18082 | 0.42235 | 0.38149 | 0.38004
RSD | 1.2815 | 2.3461 | 2.7737 | 1.6737 | 2.4628 | 1.1964 | RSD | 2.1746 | 3.3017 | 1.4399 | 2.2993 | 2.3331 | 3.0908
Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 36.46 |  |  | SH+TH |  |  |  | 36.6967
SL+TL |  |  |  | 25.13 |  |  | SL+TL |  |  |  | 24.8543
TH+TM+TL |  |  |  | 47.3233 |  |  | TH+TM+TL |  |  |  | 47.016
SH+SM+SL |  |  |  | 46.85 |  |  | SH+SM+SL |  |  |  | 47.14
E |  |  |  | 11.33 | 2.8325 |  | E |  |  |  | 11.8423 | 2.9606
F |  |  |  | 0.47333 | 0.15778 |  | F |  |  |  | -0.124 | -0.041333 |  |  | Preparation | Assay % | Assay in units
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301 |  |  |  | 1 | 103.94 | 1039361
F/E |  |  |  | 0.055703 |  |  | F/E |  |  |  | -0.013961 |  |  |  | 2 | 99.04 | 990370
F/E X log i |  |  |  | 0.016766 |  |  | F/E X log i |  |  |  | -0.0042023 |  |  |  | 3 | 97.88 | 978839
2+F/E X log i |  |  |  | 2.0168 |  |  | 2+F/E X log i |  |  |  | 1.9958 |  |  |  | 4 | 94.99 | 949943
% of potency |  |  |  | 103.9361 |  |  | % of potency |  |  |  | 99.037 |  |  |  | 5 | 100.88 | 1008841
Assay in units/Per Vial |  |  |  | 1039361.1991 |  |  | Assay in units/Per Vial |  |  |  | 990370.453 |  |  |  | 6 | 101.72 | 1017207
[15 empty] | 7 | 99.12 | 991178
Prepared by:- | [8 empty] | Reviewed by:- | [5 empty] | 8 | 96.53 | 965313
Date:- | [8 empty] | Date:- | [5 empty] | 9 | 97.64 | 976372
[15 empty] | 10 | 101.53 | 1015265
Attachment-III | [6 empty] | Attachment-IV | [7 empty] | Average | 99.327 | 993268.9
Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | STDEV | 2.7074 | 27057.5553
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL |  | RSD | 2.7257 | 2.7241
Plate 1 | 18.43 | 16.48 | 12.45 | 18.75 | 16.43 | 12.34 | Plate 1 | 18.58 | 16.38 | 12.76 | 17.34 | 15.98 | 12.44
Plate 2 | 18.38 | 16.38 | 12.38 | 18.36 | 15.96 | 12.38 | Plate 2 | 18.76 | 15.67 | 11.86 | 18.95 | 15.54 | 12.86
Plate 3 | 17.96 | 15.89 | 11.65 | 17.38 | 16.59 | 12.25 | Plate 3 | 18.87 | 15.94 | 12.23 | 18.85 | 16.58 | 11.34
Plate 4 | 18.47 | 16.49 | 12.45 | 17.48 | 16.19 | 11.78 | Plate 4 | 18.54 | 16.45 | 12.78 | 17.45 | 16.48 | 12.82
Plate 5 | 18.38 | 15.99 | 12.48 | 18.48 | 16.37 | 12.44 | Plate 5 | 17.98 | 16.86 | 11.96 | 18.86 | 15.98 | 11.58
Plate 6 | 18.36 | 16.81 | 12.47 | 18.58 | 15.84 | 12.65 | Plate 6 | 18.37 | 16.42 | 12.78 | 18.34 | 16.34 | 11.34
Avg. | 18.33 | 16.34 | 12.3133 | 18.1717 | 16.23 | 12.3067 | Avg. | 18.5167 | 16.2867 | 12.395 | 18.2983 | 16.15 | 12.0633
SD | 0.18569 | 0.34339 | 0.32684 | 0.58939 | 0.28837 | 0.29077 | SD | 0.31564 | 0.42008 | 0.43182 | 0.73271 | 0.38982 | 0.72514
RSD | 1.013 | 2.1016 | 2.6544 | 3.2434 | 1.7768 | 2.3627 | RSD | 1.7046 | 2.5793 | 3.4838 | 4.0042 | 2.4137 | 6.0111
Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 36.5017 |  |  | SH+TH |  |  |  | 36.815
SL+TL |  |  |  | 24.62 |  |  | SL+TL |  |  |  | 24.4583
TH+TM+TL |  |  |  | 46.7083 |  |  | TH+TM+TL |  |  |  | 46.5117
SH+SM+SL |  |  |  | 46.9833 |  |  | SH+SM+SL |  |  |  | 47.1983
E |  |  |  | 11.8817 | 2.9704 |  | E |  |  |  | 12.3567 | 3.0892
F |  |  |  | -0.275 | -0.091667 |  | F |  |  |  | -0.68667 | -0.22889
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.03086 |  |  | F/E |  |  |  | -0.074094
F/E X log i |  |  |  | -0.0092888 |  |  | F/E X log i |  |  |  | -0.022302
2+F/E X log i |  |  |  | 1.9907 |  |  | 2+F/E X log i |  |  |  | 1.9777
% of potency |  |  |  | 97.8839 |  |  | % of potency |  |  |  | 94.9943
Assay in units/Per Vial |  |  |  | 978838.8085 |  |  | Assay in units/Per Vial |  |  |  | 949943.3111
Prepared by:- | [8 empty] | Reviewed by:-
Date:- | [8 empty] | Date:-
Attachment-V | [7 empty] | Attachment-VI
Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 500,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 17.23 | 15.37 | 11.43 | 18.54 | 15.77 | 11.37 |  | Plate 1 | 18.38 | 16.45 | 12.89 | 18.45 | 15.65 | 12.38
Plate 2 | 18.56 | 16.87 | 12.65 | 18.67 | 15.28 | 12.85 |  | Plate 2 | 18.97 | 16.37 | 12.35 | 18.38 | 15.26 | 12.65
Plate 3 | 18.45 | 16.27 | 12.28 | 17.93 | 16.67 | 12.43 |  | Plate 3 | 18.48 | 15.65 | 12.76 | 18.87 | 16.76 | 12.85
Plate 4 | 18.98 | 16.46 | 12.76 | 17.95 | 16.36 | 12.28 |  | Plate 4 | 17.97 | 16.86 | 12.54 | 18.97 | 16.86 | 12.54
Plate 5 | 17.38 | 15.76 | 12.84 | 18.17 | 16.54 | 12.45 |  | Plate 5 | 18.43 | 16.28 | 11.98 | 18.47 | 16.54 | 12.86
Plate 6 | 17.27 | 16.26 | 12.37 | 18.78 | 15.96 | 11.86 |  | Plate 6 | 18.54 | 16.57 | 12.56 | 18.49 | 16.83 | 12.54
Avg. | 17.9783 | 16.165 | 12.3883 | 18.34 | 16.0967 | 12.2067 |  | Avg. | 18.4617 | 16.3633 | 12.5133 | 18.605 | 16.3167 | 12.6367
SD | 0.77251 | 0.52918 | 0.5179 | 0.37191 | 0.52668 | 0.51933 |  | SD | 0.32071 | 0.40317 | 0.32148 | 0.24882 | 0.68791 | 0.18981
RSD | 4.2969 | 3.2736 | 4.1805 | 2.0279 | 3.272 | 4.2545 |  | RSD | 1.7372 | 2.4639 | 2.5691 | 1.3374 | 4.216 | 1.502
Formula | [7 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation
SH+TH |  |  |  | 36.3183 |  |  |  | SH+TH |  |  |  | 37.0667
SL+TL |  |  |  | 24.595 |  |  |  | SL+TL |  |  |  | 25.15
TH+TM+TL |  |  |  | 46.6433 |  |  |  | TH+TM+TL |  |  |  | 47.5583
SH+SM+SL |  |  |  | 46.5317 |  |  |  | SH+SM+SL |  |  |  | 47.3383
E |  |  |  | 11.7233 | 2.9308 |  |  | E |  |  |  | 11.9167 | 2.9792
F |  |  |  | 0.11167 | 0.037222 |  |  | F |  |  |  | 0.22 | 0.073333
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
F/E |  |  |  | 0.0127 |  |  |  | F/E |  |  |  | 0.024615
F/E X log i |  |  |  | 0.0038228 |  |  |  | F/E X log i |  |  |  | 0.0074092
2+F/E X log i |  |  |  | 2.0038 |  |  |  | 2+F/E X log i |  |  |  | 2.0074
% of potency |  |  |  | 100.8841 |  |  |  | % of potency |  |  |  | 101.7207
Assay in units/Per Vial |  |  |  | 1008841.0968 |  |  |  | Assay in units/Per Vial |  |  |  | 1017206.7438
Prepared by:- | [8 empty] | Reviewed by:-
Date:- | [8 empty] | Date:-
Attachment-VII | [7 empty] | Attachment-VIII
Colistemethate sodium powder for solution for injection and | [7 empty] | Colistemethate sodium powder for solution for injection and
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 18.86 | 16.97 | 12.86 | 18.53 | 15.56 | 12.45 |  | Plate 1 | 18.58 | 16.64 | 12.54 | 18.37 | 15.91 | 12.78
Plate 2 | 18.32 | 16.45 | 11.92 | 18.49 | 16.86 | 11.56 |  | Plate 2 | 17.98 | 16.48 | 11.87 | 18.45 | 15.67 | 12.46
Plate 3 | 18.54 | 16.97 | 12.69 | 17.87 | 16.45 | 12.54 |  | Plate 3 | 18.65 | 16.85 | 12.48 | 17.86 | 15.95 | 11.85
Plate 4 | 17.98 | 15.97 | 12.54 | 18.45 | 16.86 | 12.29 |  | Plate 4 | 18.97 | 16.43 | 12.64 | 18.56 | 16.83 | 12.32
Plate 5 | 18.67 | 16.45 | 12.63 | 18.62 | 16.98 | 12.48 |  | Plate 5 | 17.47 | 15.83 | 12.38 | 17.98 | 15.86 | 12.94
Plate 6 | 17.92 | 16.56 | 11.84 | 18.26 | 16.45 | 12.75 |  | Plate 6 | 18.73 | 16.49 | 12.86 | 18.09 | 16.39 | 12.94
Avg. | 18.3817 | 16.5617 | 12.4133 | 18.37 | 16.5267 | 12.345 |  | Avg. | 18.3967 | 16.4533 | 12.4617 | 18.2183 | 16.1017 | 12.5483
SD | 0.37823 | 0.37643 | 0.42688 | 0.2724 | 0.5242 | 0.41244 |  | SD | 0.56035 | 0.34157 | 0.33277 | 0.2811 | 0.42851 | 0.42617
RSD | 2.0576 | 2.2729 | 3.4389 | 1.4828 | 3.1718 | 3.341 |  | RSD | 3.0459 | 2.076 | 2.6704 | 1.5429 | 2.6612 | 3.3962
Formula | [7 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation
SH+TH |  |  |  | 36.7517 |  |  |  | SH+TH |  |  |  | 36.615
SL+TL |  |  |  | 24.7583 |  |  |  | SL+TL |  |  |  | 25.01
TH+TM+TL |  |  |  | 47.2417 |  |  |  | TH+TM+TL |  |  |  | 46.8683
SH+SM+SL |  |  |  | 47.3567 |  |  |  | SH+SM+SL |  |  |  | 47.3117
E |  |  |  | 11.9933 | 2.9983 |  |  | E |  |  |  | 11.605 | 2.9013
F |  |  |  | -0.115 | -0.038333 |  |  | F |  |  |  | -0.44333 | -0.14778
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.012785 |  |  |  | F/E |  |  |  | -0.050936
F/E X log i |  |  |  | -0.0038482 |  |  |  | F/E X log i |  |  |  | -0.015332
2+F/E X log i |  |  |  | 1.9962 |  |  |  | 2+F/E X log i |  |  |  | 1.9847
% of potency |  |  |  | 99.1178 |  |  |  | % of potency |  |  |  | 96.5313
Assay in units/Per Vial |  |  |  | 991178.2214 |  |  |  | Assay in units/Per Vial |  |  |  | 965313.3098
Attachment-IX | [7 empty] | Attachment-X
Colistemethate sodium powder for solution for injection and | [7 empty] | Colistemethate sodium powder for solution for injection and
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 18.68 | 16.54 | 12.43 | 18.69 | 15.87 | 12.34 |  | Plate 1 | 17.98 | 16.65 | 12.65 | 18.93 | 15.67 | 12.35
Plate 2 | 17.97 | 16.49 | 12.48 | 18.45 | 15.79 | 12.54 |  | Plate 2 | 18.12 | 15.55 | 12.96 | 18.54 | 16.87 | 12.45
Plate 3 | 18.85 | 15.89 | 12.66 | 18.33 | 16.34 | 12.34 |  | Plate 3 | 18.45 | 15.96 | 12.28 | 17.98 | 16.87 | 12.93
Plate 4 | 17.86 | 16.54 | 12.85 | 17.91 | 16.83 | 12.76 |  | Plate 4 | 18.27 | 16.42 | 11.98 | 18.25 | 16.26 | 12.46
Plate 5 | 18.47 | 16.95 | 12.63 | 18.76 | 16.76 | 12.83 |  | Plate 5 | 18.49 | 16.85 | 12.47 | 18.58 | 16.75 | 11.87
Plate 6 | 18.59 | 16.85 | 12.86 | 18.49 | 16.37 | 12.38 |  | Plate 6 | 17.92 | 16.68 | 12.97 | 18.85 | 15.97 | 12.23
Avg. | 18.4033 | 16.5433 | 12.6517 | 18.4383 | 16.3267 | 12.5317 |  | Avg. | 18.205 | 16.3517 | 12.5517 | 18.5217 | 16.3983 | 12.3817
SD | 0.39958 | 0.37125 | 0.17994 | 0.30347 | 0.43353 | 0.21803 |  | SD | 0.23856 | 0.49918 | 0.38953 | 0.3593 | 0.51023 | 0.34563
RSD | 2.1713 | 2.2441 | 1.4222 | 1.6459 | 2.6553 | 1.7398 |  | RSD | 1.3104 | 3.0528 | 3.1034 | 1.9399 | 3.1115 | 2.7914
Formula | [7 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation
SH+TH |  |  |  | 36.8417 |  |  |  | SH+TH |  |  |  | 36.7267
SL+TL |  |  |  | 25.1833 |  |  |  | SL+TL |  |  |  | 24.9333
TH+TM+TL |  |  |  | 47.2967 |  |  |  | TH+TM+TL |  |  |  | 47.3017
SH+SM+SL |  |  |  | 47.5983 |  |  |  | SH+SM+SL |  |  |  | 47.1083
E |  |  |  | 11.6583 | 2.9146 |  |  | E |  |  |  | 11.7933 | 2.9483
F |  |  |  | -0.30167 | -0.10056 |  |  | F |  |  |  | 0.19333 | 0.064444
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.034501 |  |  |  | F/E |  |  |  | 0.021858
F/E X log i |  |  |  | -0.010385 |  |  |  | F/E X log i |  |  |  | 0.0065792
2+F/E X log i |  |  |  | 1.9896 |  |  |  | 2+F/E X log i |  |  |  | 2.0066
% of potency |  |  |  | 97.6372 |  |  |  | % of potency |  |  |  | 101.5265
Assay in units/Per Vial |  |  |  | 976371.8484 |  |  |  | Assay in units/Per Vial |  |  |  | 1015264.5799

## IP
| Attachment-I | [7 empty] | Attachment-II
| Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 500,000 units per vial
| Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
| Plate 1 | 16.32 | 13.51 | 11.18 | 16.18 | 13.88 | 10.39 |  | Plate 1 | 16.41 | 14.33 | 11.28 | 15.78 | 13.54 | 10.51
| Plate 2 | 16.29 | 13.21 | 10.65 | 16.22 | 14.21 | 10.33 |  | Plate 2 | 16.38 | 14.54 | 11.39 | 15.98 | 13.81 | 11.21
| Plate 3 | 16.54 | 14.03 | 10.19 | 16.32 | 14.09 | 10.09 |  | Plate 3 | 16.22 | 14.19 | 11.48 | 16.09 | 14.32 | 10.35
| Plate 4 | 16.22 | 14.39 | 10.08 | 16.51 | 14.34 | 10.84 |  | Plate 4 | 15.91 | 14.84 | 11.73 | 15.34 | 14.23 | 10.68
| Plate 5 | 16.18 | 14.62 | 10.73 | 16.18 | 13.98 | 10.29 |  | Plate 5 | 15.46 | 14.02 | 10.98 | 16.47 | 13.79 | 10.91
| Plate 6 | 16.89 | 14.17 | 11.34 | 15.98 | 14.09 | 10.64 |  | Plate 6 | 15.87 | 14.18 | 11.29 | 16.23 | 14.97 | 11.18
| Avg. | 16.4067 | 13.9883 | 10.695 | 16.2317 | 14.0983 | 10.43 |  | Avg. | 16.0417 | 14.35 | 11.3583 | 15.9817 | 14.11 | 10.8067
| SD | 0.26786 | 0.53473 | 0.50749 | 0.17555 | 0.1629 | 0.26796 |  | SD | 0.36526 | 0.29665 | 0.24815 | 0.39097 | 0.51291 | 0.35365
| RSD | 1.6326 | 3.8227 | 4.7452 | 1.0815 | 1.1555 | 2.5691 |  | RSD | 2.277 | 2.0672 | 2.1847 | 2.4464 | 3.6351 | 3.2725
| Formula | [7 empty] | Formula
| % of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
| i=Ratio of dilution | [7 empty] | i=Ratio of dilution
| E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
| F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
| Calculation | [7 empty] | Calculation
| SH+TH |  |  |  | 32.6383 |  |  |  | SH+TH |  |  |  | 32.0233
| SL+TL |  |  |  | 21.125 |  |  |  | SL+TL |  |  |  | 22.165
| TH+TM+TL |  |  |  | 40.76 |  |  |  | TH+TM+TL |  |  |  | 40.8983
| SH+SM+SL |  |  |  | 41.09 |  |  |  | SH+SM+SL |  |  |  | 41.75
| E |  |  |  | 11.5133 | 2.8783 |  |  | E |  |  |  | 9.8583 | 2.4646
| F |  |  |  | -0.33 | -0.11 |  |  | F |  |  |  | -0.85167 | -0.28389
| i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
| F/E |  |  |  | -0.038217 |  |  |  | F/E |  |  |  | -0.11519
| F/E X log i |  |  |  | -0.011503 |  |  |  | F/E X log i |  |  |  | -0.034671
| 2+F/E X log i |  |  |  | 1.9885 |  |  |  | 2+F/E X log i |  |  |  | 1.9653
| % of potency |  |  |  | 97.3861 |  |  |  | % of potency |  |  |  | 92.327
| Assay in units/Per Vial |  |  |  | 243465.161 |  |  |  | Assay in units/Per Vial |  |  |  | 230817.4338
| Prepared by:- | [9 empty] | Reviewed by:-
| Date:- | [9 empty] | Date:-
| Attachment-III | [7 empty] | Attachment-IV
| Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 500,000 units per vial
| Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
| Plate 1 | 16.19 | 14.31 | 10.87 | 16.03 | 14.18 | 10.65 |  | Plate 1 | 16.03 | 14.87 | 10.84 | 15.87 | 14.42 | 10.42
| Plate 2 | 16.33 | 14.43 | 10.54 | 15.82 | 14.26 | 10.24 |  | Plate 2 | 16.38 | 14.56 | 10.73 | 15.62 | 13.84 | 10.87
| Plate 3 | 16.54 | 14.53 | 10.62 | 16.23 | 13.98 | 10.38 |  | Plate 3 | 16.14 | 14.28 | 11.09 | 16.24 | 13.76 | 11.26
| Plate 4 | 16.17 | 14.08 | 10.12 | 16.45 | 14.41 | 10.42 |  | Plate 4 | 15.89 | 13.84 | 10.54 | 15.87 | 14.26 | 10.48
| Plate 5 | 16.28 | 13.87 | 10.34 | 16.29 | 14.19 | 10.98 |  | Plate 5 | 16.14 | 13.93 | 10.48 | 15.46 | 14.72 | 10.54
| Plate 6 | 16.08 | 14.19 | 10.06 | 16.48 | 14.42 | 11.03 |  | Plate 6 | 16.43 | 14.37 | 11.06 | 15.68 | 14.37 | 11.33
| Avg. | 16.265 | 14.235 | 10.425 | 16.2167 | 14.24 | 10.6167 |  | Avg. | 16.1683 | 14.3083 | 10.79 | 15.79 | 14.2283 | 10.8167
| SD | 0.16059 | 0.24081 | 0.31072 | 0.25359 | 0.16456 | 0.3288 |  | SD | 0.20566 | 0.38623 | 0.25597 | 0.27026 | 0.36597 | 0.40253
| RSD | 0.98735 | 1.6917 | 2.9806 | 1.5637 | 1.1556 | 3.097 |  | RSD | 1.272 | 2.6994 | 2.3723 | 1.7116 | 2.5721 | 3.7213
| Formula | [7 empty] | Formula
| % of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
| i=Ratio of dilution | [7 empty] | i=Ratio of dilution
| E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
| F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
| Calculation | [7 empty] | Calculation
| SH+TH |  |  |  | 32.4817 |  |  |  | SH+TH |  |  |  | 31.9583
| SL+TL |  |  |  | 21.0417 |  |  |  | SL+TL |  |  |  | 21.6067
| TH+TM+TL |  |  |  | 41.0733 |  |  |  | TH+TM+TL |  |  |  | 40.835
| SH+SM+SL |  |  |  | 40.925 |  |  |  | SH+SM+SL |  |  |  | 41.2667
| E |  |  |  | 11.44 | 2.86 |  |  | E |  |  |  | 10.3517 | 2.5879
| F |  |  |  | 0.14833 | 0.049444 |  |  | F |  |  |  | -0.43167 | -0.14389
| i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
| F/E |  |  |  | 0.017288 |  |  |  | F/E |  |  |  | -0.0556
| F/E X log i |  |  |  | 0.0052038 |  |  |  | F/E X log i |  |  |  | -0.016736
| 2+F/E X log i |  |  |  | 2.0052 |  |  |  | 2+F/E X log i |  |  |  | 1.9833
| % of potency |  |  |  | 101.2054 |  |  |  | % of potency |  |  |  | 96.2198
| Assay in units/Per Vial |  |  |  | 253013.5482 |  |  |  | Assay in units/Per Vial |  |  |  | 240549.4259
| Prepared by:- | [9 empty] | Reviewed by:-
| Date:- | [9 empty] | Date:-
|  | Attachment-V | [7 empty] | Attachment-VI
|  | Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 500,000 units per vial
|  | Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
|  | Plate 1 | 16.24 | 14.46 | 11.05 | 16.45 | 14.32 | 10.43 |  | Plate 1 | 16.04 | 14.76 | 11.04 | 16.24 | 14.17 | 10.48
|  | Plate 2 | 16.57 | 14.08 | 10.97 | 16.24 | 14.18 | 10.51 |  | Plate 2 | 16.42 | 14.51 | 10.84 | 15.84 | 14.26 | 10.54
|  | Plate 3 | 16.49 | 14.29 | 11.27 | 16.84 | 14.43 | 10.78 |  | Plate 3 | 16.37 | 14.62 | 10.68 | 15.92 | 14.38 | 10.29 | Preparation | Assay % | Assay in Units
|  | Plate 4 | 16.24 | 14.74 | 11.56 | 16.14 | 14.19 | 10.24 |  | Plate 4 | 15.98 | 14.33 | 10.75 | 16.23 | 14.19 | 10.78 | 1 | 97.39 | 243465
|  | Plate 5 | 15.62 | 13.97 | 11.14 | 16.18 | 13.98 | 10.68 |  | Plate 5 | 16.24 | 14.05 | 10.32 | 16.54 | 13.48 | 10.62 | 2 | 92.33 | 230817
|  | Plate 6 | 16.03 | 14.24 | 11.08 | 16.07 | 13.84 | 10.78 |  | Plate 6 | 16.44 | 13.84 | 10.72 | 16.34 | 13.98 | 10.18 | 3 | 101.21 | 253014
|  | Avg. | 16.1983 | 14.2967 | 11.1783 | 16.32 | 14.1567 | 10.57 |  | Avg. | 16.2483 | 14.3517 | 10.725 | 16.185 | 14.0767 | 10.4817 | 4 | 96.22 | 240549
|  | SD | 0.34336 | 0.27573 | 0.21217 | 0.28573 | 0.21658 | 0.21559 |  | SD | 0.19823 | 0.35131 | 0.23628 | 0.26243 | 0.32017 | 0.21876 | 5 | 94.76 | 236912
|  | RSD | 2.1197 | 1.9286 | 1.8981 | 1.7508 | 1.5299 | 2.0397 |  | RSD | 1.22 | 2.4478 | 2.2031 | 1.6214 | 2.2744 | 2.0871 | 6 | 95.32 | 238312
|  | Formula | [7 empty] | Formula | [6 empty] | Average | 96.205 | 240511.5
|  | % of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i) | [6 empty] | STDEV | 2.978 | 7440.6264
|  | i=Ratio of dilution | [7 empty] | i=Ratio of dilution | [6 empty] | RSD | 3.0954 | 3.0937
|  | E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
|  | F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
|  | Calculation | [7 empty] | Calculation
|  | SH+TH |  |  |  | 32.5183 |  |  |  | SH+TH |  |  |  | 32.4333
|  | SL+TL |  |  |  | 21.7483 |  |  |  | SL+TL |  |  |  | 21.2067
|  | TH+TM+TL |  |  |  | 41.0467 |  |  |  | TH+TM+TL |  |  |  | 40.7433
|  | SH+SM+SL |  |  |  | 41.6733 |  |  |  | SH+SM+SL |  |  |  | 41.325
|  | E |  |  |  | 10.77 | 2.6925 |  |  | E |  |  |  | 11.2267 | 2.8067
|  | F |  |  |  | -0.62667 | -0.20889 |  |  | F |  |  |  | -0.58167 | -0.19389
|  | i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
|  | F/E |  |  |  | -0.077582 |  |  |  | F/E |  |  |  | -0.069082
|  | F/E X log i |  |  |  | -0.023352 |  |  |  | F/E X log i |  |  |  | -0.020794
|  | 2+F/E X log i |  |  |  | 1.9766 |  |  |  | 2+F/E X log i |  |  |  | 1.9792
|  | % of potency |  |  |  | 94.765 |  |  |  | % of potency |  |  |  | 95.3249
|  | Assay in units/Per Vial |  |  |  | 236912.4582 |  |  |  | Assay in units/Per Vial |  |  |  | 238312.3019
|  | Prepared by:- | [9 empty] | Reviewed by:-
|  | Date:- | [9 empty] | Date:-
S. No | 1 | 2 | 3 | 4 | 5 | 6 | Avg | Overall Avg | Overall Stdev | Overall RSD
Method Precision | 100.97 | 95.5 | 100.72 | 92.25 | 101.44 | 103.4 | 99.05 | 97.63 | 3.8618 | 3.9555
Intermediate Precision | 97.39 | 92.33 | 101.21 | 96.22 | 94.76 | 94.32 | 96.21

## Accuracy
Accuracy 50%
Attachment-I | [7 empty] | Attachment-II | [6 empty] | Attachment-III
Polymyxin-B for Injection USP 250,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 250,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 250,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL |  | Accuracy level | Theoretical value | Obtained potency | % of Recovery | Mean % of Recovery
Plate 1 | 16.41 | 14.12 | 11.08 | 14.34 | 10.78 | 9.14 |  | Plate 1 | 16.48 | 14.18 | 11.28 | 14.23 | 10.38 | 9.51 | Plate 1 | 16.42 | 14.29 | 11.48 | 14.76 | 10.78 | 9.26 |  | LEVEL-1 | 50 | 53.08 | 106.16 | 103.16
Plate 2 | 16.03 | 14.28 | 11.26 | 14.29 | 10.45 | 9.26 |  | Plate 2 | 16.17 | 14.26 | 11.46 | 14.38 | 10.42 | 9.45 | Plate 2 | 16.31 | 14.18 | 11.42 | 14.51 | 10.15 | 9.46 |  |  | 50 | 50.54 | 101.08
Plate 3 | 16.35 | 14.44 | 10.87 | 14.64 | 10.68 | 9.38 |  | Plate 3 | 16.29 | 14.74 | 11.09 | 14.43 | 10.36 | 9.18 | Plate 3 | 16.54 | 14.62 | 11.08 | 14.28 | 10.49 | 9.57 |  |  | 50 | 51.12 | 102.24
Plate 4 | 16.46 | 14.65 | 11.45 | 14.39 | 10.24 | 9.17 |  | Plate 4 | 16.33 | 14.56 | 11.19 | 14.51 | 10.57 | 9.62 | Plate 4 | 16.18 | 14.75 | 11.17 | 14.33 | 10.98 | 9.04 |  | LEVEL-2 | 100 | 92.28 | 92.28 | 98.1233
Plate 5 | 15.89 | 14.18 | 10.24 | 14.27 | 10.61 | 9.51 |  | Plate 5 | 16.42 | 14.27 | 10.58 | 14.78 | 10.61 | 9.43 | Plate 5 | 16.24 | 14.19 | 11.43 | 14.73 | 10.74 | 9.84 |  |  | 100 | 101.01 | 101.01
Plate 6 | 15.72 | 14.29 | 10.84 | 14.84 | 10.57 | 9.67 |  | Plate 6 | 16.18 | 14.23 | 11.42 | 14.52 | 10.18 | 9.59 | Plate 6 | 16.64 | 14.53 | 11.07 | 14.84 | 10.62 | 9.61 |  |  | 100 | 101.08 | 101.08
Avg. | 16.1433 | 14.3267 | 10.9567 | 14.4617 | 10.555 | 9.355 |  | Avg. | 16.3117 | 14.3733 | 11.17 | 14.475 | 10.42 | 9.4633 | Avg. | 16.3883 | 14.4267 | 11.275 | 14.575 | 10.6267 | 9.4633 |  | LEVEL-3 | 200 | 201.8 | 100.9 | 101.1633
SD | 0.3067 | 0.19242 | 0.42079 | 0.22851 | 0.1896 | 0.20657 |  | SD | 0.12513 | 0.22393 | 0.3205 | 0.18295 | 0.15582 | 0.15769 | SD | 0.17826 | 0.24006 | 0.18876 | 0.23654 | 0.28535 | 0.28119 |  |  | 200 | 205.64 | 102.82
RSD | 1.8999 | 1.3431 | 3.8405 | 1.5801 | 1.7964 | 2.2081 |  | RSD | 0.7671 | 1.558 | 2.8693 | 1.2639 | 1.4954 | 1.6663 | RSD | 1.0877 | 1.664 | 1.6741 | 1.6229 | 2.6853 | 2.9713 |  |  | 200 | 199.54 | 99.77
Formula | [7 empty] | Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 30.605 |  |  |  | SH+TH |  |  |  | 30.7867 |  |  | SH+TH |  |  |  | 30.9633
SL+TL |  |  |  | 20.3117 |  |  |  | SL+TL |  |  |  | 20.6333 |  |  | SL+TL |  |  |  | 20.7383
TH+TM+TL |  |  |  | 34.3717 |  |  |  | TH+TM+TL |  |  |  | 34.3583 |  |  | TH+TM+TL |  |  |  | 34.665
SH+SM+SL |  |  |  | 41.4267 |  |  |  | SH+SM+SL |  |  |  | 41.855 |  |  | SH+SM+SL |  |  |  | 42.09
E |  |  |  | 10.2933 | 2.5733 |  |  | E |  |  |  | 10.1533 | 2.5383 |  | E |  |  |  | 10.225 | 2.5562
F |  |  |  | -7.055 | -2.3517 |  |  | F |  |  |  | -7.4967 | -2.4989 |  | F |  |  |  | -7.425 | -2.475
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.91386 |  |  |  | F/E |  |  |  | -0.98446 |  |  | F/E |  |  |  | -0.96822
F/E X log i |  |  |  | -0.27507 |  |  |  | F/E X log i |  |  |  | -0.29632 |  |  | F/E X log i |  |  |  | -0.29143
2+F/E X log i |  |  |  | 1.7249 |  |  |  | 2+F/E X log i |  |  |  | 1.7037 |  |  | 2+F/E X log i |  |  |  | 1.7086
% of potency |  |  |  | 53.0797 |  |  |  | % of potency |  |  |  | 50.5449 |  |  | % of potency |  |  |  | 51.1172
Assay in units/Per Vial |  |  |  | 132699.1428 |  |  |  | Assay in units/Per Vial |  |  |  | 126362.2644 |  |  | Assay in units/Per Vial |  |  |  | 127793.0531
Recovery |  |  |  | 53.0797 |  |  |  | Recovery |  |  |  | 50.5449 |  |  | Recovery |  |  |  | 51.1172
Accuracy 100%
Attachment-IV | [7 empty] | Attachment-V | [6 empty] | Attachment-VI
Polymyxin-B for Injection USP 250,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 250,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 250,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 16.53 | 14.48 | 10.54 | 16.24 | 14.28 | 10.14 |  | Plate 1 | 16.42 | 14.26 | 10.18 | 16.24 | 14.71 | 10.75 | Plate 1 | 16.21 | 14.59 | 10.45 | 15.24 | 14.17 | 10.75
Plate 2 | 15.62 | 14.84 | 11.23 | 16.49 | 14.38 | 10.56 |  | Plate 2 | 16.86 | 14.54 | 10.34 | 16.33 | 14.46 | 10.14 | Plate 2 | 16.42 | 14.32 | 10.28 | 15.29 | 14.78 | 10.84
Plate 3 | 16.24 | 14.62 | 11.84 | 16.71 | 14.18 | 10.78 |  | Plate 3 | 16.54 | 14.78 | 10.84 | 16.13 | 14.84 | 10.48 | Plate 3 | 16.54 | 14.23 | 10.46 | 15.87 | 14.65 | 10.46
Plate 4 | 16.07 | 14.48 | 11.28 | 16.28 | 13.98 | 10.11 |  | Plate 4 | 16.41 | 14.28 | 10.45 | 16.75 | 14.56 | 10.59 | Plate 4 | 16.78 | 14.26 | 9.94 | 16.17 | 14.18 | 10.73
Plate 5 | 15.98 | 14.71 | 11.18 | 15.97 | 13.42 | 10.75 |  | Plate 5 | 15.98 | 14.18 | 10.12 | 16.48 | 13.98 | 10.33 | Plate 5 | 15.94 | 13.78 | 10.13 | 16.84 | 14.75 | 10.42
Plate 6 | 16.28 | 14.08 | 10.98 | 16.16 | 14.35 | 10.58 |  | Plate 6 | 15.64 | 14.51 | 10.46 | 16.18 | 13.87 | 10.74 | Plate 6 | 15.48 | 13.86 | 10.74 | 15.76 | 13.78 | 10.51
Avg. | 16.12 | 14.535 | 11.175 | 16.3083 | 14.0983 | 10.4867 |  | Avg. | 16.3083 | 14.425 | 10.3983 | 16.3517 | 14.4033 | 10.505 | Avg. | 16.2283 | 14.1733 | 10.3333 | 15.8617 | 14.385 | 10.6183
SD | 0.3099 | 0.26228 | 0.42369 | 0.25934 | 0.36235 | 0.29378 |  | SD | 0.4325 | 0.22572 | 0.25694 | 0.23095 | 0.39399 | 0.23956 | SD | 0.46512 | 0.3029 | 0.28069 | 0.59597 | 0.40342 | 0.17612
RSD | 1.9225 | 1.8045 | 3.7914 | 1.5902 | 2.5702 | 2.8015 |  | RSD | 2.652 | 1.5648 | 2.4709 | 1.4124 | 2.7354 | 2.2805 | RSD | 2.8661 | 2.1371 | 2.7164 | 3.7573 | 2.8045 | 1.6586
Formula | [7 empty] | Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 32.4283 |  |  |  | SH+TH |  |  |  | 32.66 |  |  | SH+TH |  |  |  | 32.09
SL+TL |  |  |  | 21.6617 |  |  |  | SL+TL |  |  |  | 20.9033 |  |  | SL+TL |  |  |  | 20.9517
TH+TM+TL |  |  |  | 40.8933 |  |  |  | TH+TM+TL |  |  |  | 41.26 |  |  | TH+TM+TL |  |  |  | 40.865
SH+SM+SL |  |  |  | 41.83 |  |  |  | SH+SM+SL |  |  |  | 41.1317 |  |  | SH+SM+SL |  |  |  | 40.735
E |  |  |  | 10.7667 | 2.6917 |  |  | E |  |  |  | 11.7567 | 2.9392 |  | E |  |  |  | 11.1383 | 2.7846
F |  |  |  | -0.93667 | -0.31222 |  |  | F |  |  |  | 0.12833 | 0.042778 |  | F |  |  |  | 0.13 | 0.043333
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.116 |  |  |  | F/E |  |  |  | 0.014554 |  |  | F/E |  |  |  | 0.015562
F/E X log i |  |  |  | -0.034915 |  |  |  | F/E X log i |  |  |  | 0.0043809 |  |  | F/E X log i |  |  |  | 0.0046841
2+F/E X log i |  |  |  | 1.9651 |  |  |  | 2+F/E X log i |  |  |  | 2.0044 |  |  | 2+F/E X log i |  |  |  | 2.0047
% of potency |  |  |  | 92.2753 |  |  |  | % of potency |  |  |  | 101.0138 |  |  | % of potency |  |  |  | 101.0844
Assay in units/Per Vial |  |  |  | 230688.1314 |  |  |  | Assay in units/Per Vial |  |  |  | 252534.5944 |  |  | Assay in units/Per Vial |  |  |  | 252710.992
Recovery |  |  |  | 92.2753 |  |  |  | Recovery |  |  |  | 101.0138 |  |  | Recovery |  |  |  | 101.0844
Accuracy 200%
Attachment-VII | [7 empty] | Attachment-VIII | [7 empty] | Attachment-IX
Polymyxin-B for Injection USP 250,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 250,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 250,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 16.34 | 14.48 | 10.51 | 18.42 | 16.84 | 14.22 |  | Plate 1 | 16.33 | 14.35 | 11.18 | 18.24 | 16.98 | 14.25 |  | Plate 1 | 16.84 | 14.38 | 10.98 | 18.24 | 17.28 | 13.84
Plate 2 | 16.42 | 14.27 | 11.18 | 18.21 | 16.98 | 13.84 |  | Plate 2 | 16.24 | 14.68 | 11.08 | 17.84 | 16.84 | 13.18 |  | Plate 2 | 16.24 | 14.54 | 11.42 | 18.24 | 17.23 | 13.24
Plate 3 | 16.74 | 14.33 | 11.23 | 17.84 | 16.54 | 13.54 |  | Plate 3 | 16.54 | 14.16 | 11.42 | 17.91 | 17.56 | 13.61 |  | Plate 3 | 15.87 | 14.29 | 11.18 | 18.27 | 16.98 | 13.86
Plate 4 | 16.08 | 14.46 | 10.42 | 18.17 | 17.76 | 13.24 |  | Plate 4 | 16.84 | 14.87 | 11.27 | 18.29 | 17.38 | 13.98 |  | Plate 4 | 16.24 | 14.28 | 11.24 | 18.51 | 17.52 | 13.45
Plate 5 | 16.41 | 14.27 | 10.54 | 18.42 | 16.84 | 13.87 |  | Plate 5 | 15.48 | 14.24 | 10.87 | 18.16 | 16.37 | 13.87 |  | Plate 5 | 15.91 | 13.84 | 10.86 | 17.84 | 17.24 | 13.74
Plate 6 | 16.28 | 14.19 | 10.18 | 17.84 | 17.28 | 14.21 |  | Plate 6 | 15.89 | 14.18 | 11.24 | 18.74 | 17.28 | 14.28 |  | Plate 6 | 16.32 | 14.87 | 11.17 | 18.29 | 16.84 | 13.48
Avg. | 16.3783 | 14.3333 | 10.6767 | 18.15 | 17.04 | 13.82 |  | Avg. | 16.22 | 14.4133 | 11.1767 | 18.1967 | 17.0683 | 13.8617 |  | Avg. | 16.2367 | 14.3667 | 11.1417 | 18.2317 | 17.1817 | 13.6017
SD | 0.21619 | 0.11501 | 0.42861 | 0.26153 | 0.42652 | 0.38205 |  | SD | 0.48079 | 0.29405 | 0.18726 | 0.32141 | 0.43157 | 0.41663 |  | SD | 0.3499 | 0.33892 | 0.19743 | 0.2172 | 0.2397 | 0.24951
RSD | 1.32 | 0.80238 | 4.0145 | 1.441 | 2.5031 | 2.7645 |  | RSD | 2.9642 | 2.0401 | 1.6755 | 1.7663 | 2.5285 | 3.0056 |  | RSD | 2.155 | 2.3591 | 1.772 | 1.1913 | 1.3951 | 1.8344
Formula | [7 empty] | Formula | [7 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [7 empty] | i=Ratio of dilution | [7 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [7 empty] | Calculation | [7 empty] | Calculation
SH+TH |  |  |  | 34.5283 |  |  |  | SH+TH |  |  |  | 34.4167 |  |  |  | SH+TH |  |  |  | 34.4683
SL+TL |  |  |  | 24.4967 |  |  |  | SL+TL |  |  |  | 25.0383 |  |  |  | SL+TL |  |  |  | 24.7433
TH+TM+TL |  |  |  | 49.01 |  |  |  | TH+TM+TL |  |  |  | 49.1267 |  |  |  | TH+TM+TL |  |  |  | 49.015
SH+SM+SL |  |  |  | 41.3883 |  |  |  | SH+SM+SL |  |  |  | 41.81 |  |  |  | SH+SM+SL |  |  |  | 41.745
E |  |  |  | 10.0317 | 2.5079 |  |  | E |  |  |  | 9.3783 | 2.3446 |  |  | E |  |  |  | 9.725 | 2.4313
F |  |  |  | 7.6217 | 2.5406 |  |  | F |  |  |  | 7.3167 | 2.4389 |  |  | F |  |  |  | 7.27 | 2.4233
i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
F/E |  |  |  | 1.013 |  |  |  | F/E |  |  |  | 1.0402 |  |  |  | F/E |  |  |  | 0.99674
F/E X log i |  |  |  | 0.30492 |  |  |  | F/E X log i |  |  |  | 0.31311 |  |  |  | F/E X log i |  |  |  | 0.30002
2+F/E X log i |  |  |  | 2.3049 |  |  |  | 2+F/E X log i |  |  |  | 2.3131 |  |  |  | 2+F/E X log i |  |  |  | 2.3
% of potency |  |  |  | 201.7982 |  |  |  | % of potency |  |  |  | 205.6397 |  |  |  | % of potency |  |  |  | 199.5354
Assay in units/Per Vial |  |  |  | 504495.534 |  |  |  | Assay in units/Per Vial |  |  |  | 514099.3468 |  |  |  | Assay in units/Per Vial |  |  |  | 498838.4128
Recovery |  |  |  | 201.7982 |  |  |  | Recovery |  |  |  | 205.6397 |  |  |  | Recovery |  |  |  | 199.5354
Prepared by:- | [9 empty] | Reviewed by:- | [5 empty] | Prepared by:- |  |  |  |  | Reviewed by:-
Date:- | [9 empty] | Date:- | [5 empty] | Date:- |  |  |  |  | Date:-
220

## Linearity
ATTACHMENT-22
MEASUREMENT OF LINEARILTY
Percentage | 25% | 50% | 75% | 100% | 150% | 200% | 400%
Concentration | 25 Units | 50 Units | 75 Units | 100 Units | 150 Units | 200 Units | 400 Units
Plate-1 | 9.73 | 10.21 | 12.31 | 14.83 | 15.76 | 17.64 | 19.34
Plate-2 | 9.51 | 10.58 | 12.21 | 14.89 | 15.85 | 17.14 | 19.64
Plate-3 | 8.36 | 10.14 | 12.34 | 13.61 | 15.45 | 16.71 | 19.45
Plate-4 | 8.94 | 10.26 | 12.32 | 14.12 | 15.61 | 16.39 | 18.61
Plate-5 | 9.15 | 10.26 | 12.91 | 14.32 | 15.93 | 16.65 | 18.74
Avg | 9.138 | 10.29 | 12.418 | 14.354 | 15.72 | 16.906 | 19.156
SD | 0.47613 | 0.15153 | 0.25007 | 0.47399 | 0.17181 | 0.43903 | 0.40638
RSD | 5.2104 | 1.4726 | 2.0138 | 3.3021 | 1.093 | 2.5969 | 2.1214
Concentration | IN log concentration | Zone measurement
25 | 3.2189 | 9.14
50 | 3.912 | 10.29
75 | 4.3175 | 12.42
100 | 4.6052 | 14.35
150 | 5.0106 | 15.72
200 | 5.2983 | 16.91
400 | 5.9915 | 19.16
Prepared by: | [7 empty] | Reviewed by:
Sign & Date: | [7 empty] | Sign & Date:

## Robustness
Attachment-I (30-35) | [6 empty] | Attachment-II (36-37.5)
Polymyxin-B for Injection USP 250,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 250,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 16.43 | 14.34 | 12.72 | 16.42 | 14.58 | 12.21 | Plate 1 | 16.49 | 14.54 | 12.54 | 16.36 | 13.75 | 12.28
Plate 2 | 16.45 | 14.06 | 12.13 | 16.63 | 14.43 | 12.45 | Plate 2 | 16.47 | 14.43 | 12.32 | 16.63 | 14.43 | 12.67
Plate 3 | 16.33 | 14.03 | 12.42 | 16.67 | 14.71 | 12.34 | Plate 3 | 16.54 | 14.32 | 12.59 | 16.85 | 14.64 | 12.75
Plate 4 | 16.38 | 14.71 | 12.49 | 16.89 | 14.43 | 12.35 | Plate 4 | 16.43 | 14.43 | 12.56 | 16.73 | 14.36 | 11.61
Plate 5 | 16.09 | 14.38 | 12.04 | 16.69 | 14.33 | 12.57 | Plate 5 | 16.22 | 14.56 | 12.76 | 16.85 | 14.75 | 12.26
Plate 6 | 16.67 | 14.54 | 12.46 | 16.45 | 14.35 | 12.21 | Plate 6 | 15.43 | 13.56 | 11.71 | 15.96 | 14.09 | 10.53
Avg. | 16.3917 | 14.3433 | 12.3767 | 16.625 | 14.4717 | 12.355 | Avg. | 16.2633 | 14.3067 | 12.4133 | 16.5633 | 14.3367 | 12.0167
SD | 0.1883 | 0.26568 | 0.25049 | 0.17271 | 0.14621 | 0.13968 | SD | 0.42302 | 0.37596 | 0.37211 | 0.34697 | 0.368 | 0.83291
RSD | 1.1488 | 1.8523 | 2.0239 | 1.0389 | 1.0103 | 1.1305 | RSD | 2.6011 | 2.6279 | 2.9977 | 2.0948 | 2.5669 | 6.9313
Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 33.0167 |  |  | SH+TH |  |  |  | 32.8267
SL+TL |  |  |  | 24.7317 |  |  | SL+TL |  |  |  | 24.43
TH+TM+TL |  |  |  | 43.4517 |  |  | TH+TM+TL |  |  |  | 42.9167
SH+SM+SL |  |  |  | 43.1117 |  |  | SH+SM+SL |  |  |  | 42.9833
E |  |  |  | 8.285 | 2.0713 |  | E |  |  |  | 8.3967 | 2.0992
F |  |  |  | 0.34 | 0.11333 |  | F |  |  |  | -0.066667 | -0.022222
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | 0.054717 |  |  | F/E |  |  |  | -0.010586
F/E X log i |  |  |  | 0.01647 |  |  | F/E X log i |  |  |  | -0.0031864
2+F/E X log i |  |  |  | 2.0165 |  |  | 2+F/E X log i |  |  |  | 1.9968
% of potency |  |  |  | 103.87 |  |  | % of potency |  |  |  | 99.27
Assay in units/Per Vial |  |  |  | 259675 |  |  | Assay in units/Per Vial |  |  |  | 248175
Prepared by:- | [8 empty] | Reviewed by:-
Date:- | [8 empty] | Date:-

## Sheet1
Accuracy 50%
Attachment-I | [6 empty] | Attachment-II | [6 empty] | Attachment-III
Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL |  | Accuracy level | Theoretical value | Obtained potency | % of Recovery | Mean % of Recovery
Plate 1 | 15.01 | 14.32 | 11.26 | 14.23 | 11.39 | 10.23 | Plate 1 | 14.45 | 10.21 | 9.53 | 15.62 | 10.52 | 9.06 | Plate 1 | 15.23 | 13.92 | 11.26 | 15.36 | 14.53 | 9.53 |  | LEVEL-1 | 50 | 101.39 | 202.78 | 201.1067
Plate 2 | 15.22 | 13.22 | 11.07 | 15.39 | 11.35 | 10.32 | Plate 2 | 13.62 | 11.26 | 9.26 | 14.28 | 10.39 | 9.02 | Plate 2 | 15.39 | 13.25 | 10.21 | 15.43 | 14.02 | 9.02 |  |  | 50 | 105.43 | 210.86
Plate 3 | 15.01 | 13.22 | 10.02 | 15.36 | 11.29 | 10.25 | Plate 3 | 14.26 | 10.21 | 9.06 | 14.98 | 10.65 | 9.23 | Plate 3 | 15.36 | 12.45 | 10.26 | 15.29 | 13.62 | 9.39 |  |  | 50 | 94.84 | 189.68
Plate 4 | 15.26 | 13.22 | 11.26 | 15.48 | 11.26 | 10.59 | Plate 4 | 14.49 | 10.29 | 10.21 | 13.99 | 10.21 | 9.52 | Plate 4 | 15.48 | 13.26 | 10.01 | 15.62 | 12.98 | 9.62 |  | LEVEL-2 | 100 | 92.89 | 92.89 | 100.1433
Plate 5 | 15.29 | 13.02 | 11.51 | 15.98 | 11.65 | 10.25 | Plate 5 | 14.02 | 10.36 | 9.36 | 15.23 | 10.62 | 9.21 | Plate 5 | 15.23 | 14.53 | 10.22 | 15.11 | 13.36 | 9.21 |  |  | 100 | 105.92 | 105.92
Plate 6 | 15.32 | 13.91 | 10.01 | 15.43 | 11.98 | 11.26 | Plate 6 | 13.81 | 10.52 | 9.52 | 15.68 | 10.25 | 9.53 | Plate 6 | 14.56 | 12.92 | 10.09 | 14.23 | 14.02 | 9.55 |  |  | 100 | 101.62 | 101.62
Avg. | 15.185 | 13.485 | 10.855 | 15.3117 | 11.4867 | 10.4833 | Avg. | 14.1083 | 10.475 | 9.49 | 14.9633 | 10.44 | 9.2617 | Avg. | 15.2083 | 13.3883 | 10.3417 | 15.1733 | 13.755 | 9.3867 |  | LEVEL-3 | 200 | 91.83 | 45.915 | 47.65
SD | 0.13953 | 0.51083 | 0.66551 | 0.57749 | 0.27862 | 0.40357 | SD | 0.35233 | 0.40153 | 0.39385 | 0.69721 | 0.18676 | 0.21977 | SD | 0.33199 | 0.73776 | 0.45945 | 0.49147 | 0.55063 | 0.23123 |  |  | 200 | 92.68 | 46.34
RSD | 0.9189 | 3.7882 | 6.131 | 3.7716 | 2.4256 | 3.8496 | RSD | 2.4973 | 3.8333 | 4.1502 | 4.6595 | 1.7889 | 2.3728 | RSD | 2.1829 | 5.5105 | 4.4427 | 3.2391 | 4.0031 | 2.4634 |  |  | 200 | 101.39 | 50.695
Formula | [6 empty] | Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 30.4967 |  |  | SH+TH |  |  |  | 29.0717 |  |  | SH+TH |  |  |  | 30.3817
SL+TL |  |  |  | 21.3383 |  |  | SL+TL |  |  |  | 18.7517 |  |  | SL+TL |  |  |  | 19.7283
TH+TM+TL |  |  |  | 37.2817 |  |  | TH+TM+TL |  |  |  | 34.665 |  |  | TH+TM+TL |  |  |  | 38.315
SH+SM+SL |  |  |  | 39.525 |  |  | SH+SM+SL |  |  |  | 34.0733 |  |  | SH+SM+SL |  |  |  | 38.9383
E |  |  |  | 9.1583 | 2.2896 |  | E |  |  |  | 10.32 | 2.58 |  | E |  |  |  | 10.6533 | 2.6633
F |  |  |  | -2.2433 | -0.74778 |  | F |  |  |  | 0.59167 | 0.19722 |  | F |  |  |  | -0.62333 | -0.20778
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.3266 |  |  | F/E |  |  |  | 0.076443 |  |  | F/E |  |  |  | -0.078014
F/E X log i |  |  |  | -0.098307 |  |  | F/E X log i |  |  |  | 0.023009 |  |  | F/E X log i |  |  |  | -0.023482
2+F/E X log i |  |  |  | 1.9017 |  |  | 2+F/E X log i |  |  |  | 2.023 |  |  | 2+F/E X log i |  |  |  | 1.9765
% of potency |  |  |  | 101.4% |  |  | % of potency |  |  |  | 105.4% |  |  | % of potency |  |  |  | 94.84%
Assay in units/Per Vial |  |  |  | 253475 |  |  | Assay in units/Per Vial |  |  |  | 263575 |  |  | Assay in units/Per Vial |  |  |  | 237100
Recovery |  |  |  | 101.39 |  |  | Recovery |  |  |  | 105.43 |  |  | Recovery |  |  |  | 94.84
Accuracy 100%
Attachment-IV | [6 empty] | Attachment-V | [6 empty] | Attachment-VI
Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 16.25 | 14.32 | 10.39 | 16.48 | 14.26 | 10.01 | Plate 1 | 16.28 | 14.29 | 9.25 | 16.53 | 14.92 | 10.22 | Plate 1 | 14.99 | 14.26 | 10.02 | 15.36 | 14.32 | 10.36
Plate 2 | 16.32 | 14.95 | 11.07 | 16.23 | 14.53 | 10.22 | Plate 2 | 16.98 | 14.02 | 10.23 | 16.52 | 14.39 | 10.46 | Plate 2 | 16.53 | 14.32 | 10.32 | 15.23 | 14.62 | 10.26
Plate 3 | 16.36 | 14.26 | 11.02 | 16.56 | 13.92 | 10.09 | Plate 3 | 15.99 | 13.21 | 10.36 | 15.98 | 14.45 | 10.62 | Plate 3 | 16.81 | 14.72 | 9.85 | 15.99 | 14.69 | 10.02
Plate 4 | 16.11 | 14.36 | 10.31 | 16.02 | 13.53 | 9.53 | Plate 4 | 16.23 | 14.52 | 10.26 | 16.81 | 14.72 | 10.85 | Plate 4 | 16.02 | 14.26 | 10.32 | 15.62 | 13.99 | 10.22
Plate 5 | 16.23 | 14.32 | 10.32 | 15.06 | 13.36 | 10.46 | Plate 5 | 14.99 | 14.69 | 10.02 | 16.02 | 13 | 10.11 | Plate 5 | 16.59 | 12.91 | 10.26 | 16.53 | 14.28 | 10.46
Plate 6 | 16.38 | 13.91 | 10.01 | 16.21 | 14.45 | 10.36 | Plate 6 | 15.26 | 14.98 | 9.68 | 15.98 | 14.01 | 10.16 | Plate 6 | 16.33 | 13.88 | 10.23 | 16.25 | 14.45 | 11.25
Avg. | 16.275 | 14.3533 | 10.52 | 16.0933 | 14.0083 | 10.1117 | Avg. | 15.955 | 14.285 | 9.9667 | 16.3067 | 14.2483 | 10.4033 | Avg. | 16.2117 | 14.0583 | 10.1667 | 15.83 | 14.3917 | 10.4283
SD | 0.10015 | 0.33572 | 0.42746 | 0.54272 | 0.48734 | 0.32981 | SD | 0.72765 | 0.62099 | 0.42632 | 0.35898 | 0.68549 | 0.29276 | SD | 0.65509 | 0.62259 | 0.19054 | 0.51323 | 0.25436 | 0.42879
RSD | 0.61536 | 2.339 | 4.0633 | 3.3723 | 3.4789 | 3.2617 | RSD | 4.5606 | 4.3472 | 4.2774 | 2.2014 | 4.811 | 2.8141 | RSD | 4.0408 | 4.4286 | 1.8742 | 3.2421 | 1.7674 | 4.1117
Formula | [6 empty] | Formula | [6 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution | [6 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation | [6 empty] | Calculation
SH+TH |  |  |  | 32.3683 |  |  | SH+TH |  |  |  | 32.2617 |  |  | SH+TH |  |  |  | 32.0417
SL+TL |  |  |  | 20.6317 |  |  | SL+TL |  |  |  | 20.37 |  |  | SL+TL |  |  |  | 20.595
TH+TM+TL |  |  |  | 40.2133 |  |  | TH+TM+TL |  |  |  | 40.9583 |  |  | TH+TM+TL |  |  |  | 40.65
SH+SM+SL |  |  |  | 41.1483 |  |  | SH+SM+SL |  |  |  | 40.2067 |  |  | SH+SM+SL |  |  |  | 40.4367
E |  |  |  | 11.7367 | 2.9342 |  | E |  |  |  | 11.8917 | 2.9729 |  | E |  |  |  | 11.4467 | 2.8617
F |  |  |  | -0.935 | -0.31167 |  | F |  |  |  | 0.75167 | 0.25056 |  | F |  |  |  | 0.21333 | 0.071111
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.10622 |  |  | F/E |  |  |  | 0.084279 |  |  | F/E |  |  |  | 0.02485
F/E X log i |  |  |  | -0.031972 |  |  | F/E X log i |  |  |  | 0.025368 |  |  | F/E X log i |  |  |  | 0.0074797
2+F/E X log i |  |  |  | 1.968 |  |  | 2+F/E X log i |  |  |  | 2.0254 |  |  | 2+F/E X log i |  |  |  | 2.0075
% of potency |  |  |  | 92.89% |  |  | % of potency |  |  |  | 105.9% |  |  | % of potency |  |  |  | 101.6%
Assay in units/Per Vial |  |  |  | 464450 |  |  | Assay in units/Per Vial |  |  |  | 529600 |  |  | Assay in units/Per Vial |  |  |  | 508100
Recovery |  |  |  | 92.89 |  |  | Recovery |  |  |  | 105.92 |  |  | Recovery |  |  |  | 101.62
Accuracy 200%
Attachment-VII | [6 empty] | Attachment-VIII | [7 empty] | Attachment-IX
Polymyxin-B for Injection USP 500,000 units per vial | [6 empty] | Polymyxin-B for Injection USP 500,000 units per vial | [7 empty] | Polymyxin-B for Injection USP 500,000 units per vial
Plate No.: | SH | SM | SL | TH | TM | TL | Plate No.: | SH | SM | SL | TH | TM | TL |  | Plate No.: | SH | SM | SL | TH | TM | TL
Plate 1 | 17.74 | 16.68 | 15.36 | 16.26 | 16.32 | 15.26 | Plate 1 | 17.36 | 16.36 | 15.36 | 17.62 | 16.62 | 14.62 |  | Plate 1 | 17.36 | 15.95 | 14.52 | 17.83 | 16.45 | 14.31
Plate 2 | 17.25 | 16.41 | 15.42 | 17.62 | 16.25 | 15.46 | Plate 2 | 17.42 | 16.85 | 15.42 | 17.35 | 16.35 | 14.51 |  | Plate 2 | 17.52 | 15.36 | 14.26 | 17.62 | 16.24 | 14.23
Plate 3 | 16.98 | 16.26 | 14 | 16.43 | 16.42 | 14.26 | Plate 3 | 17.02 | 16.02 | 14 | 17.65 | 16.68 | 14.06 |  | Plate 3 | 17.62 | 16.85 | 15.02 | 17.68 | 16.28 | 14.53
Plate 4 | 17.32 | 16.01 | 14.59 | 17.22 | 16.95 | 14.31 | Plate 4 | 17.62 | 16.48 | 14.59 | 16.98 | 16.98 | 14.99 |  | Plate 4 | 17.36 | 16.36 | 15.36 | 16.69 | 16.95 | 14.68
Plate 5 | 17.84 | 16.95 | 14.33 | 17.59 | 16.98 | 14.01 | Plate 5 | 17.33 | 16.98 | 14.33 | 17.01 | 15.98 | 14.61 |  | Plate 5 | 17.68 | 16.32 | 15.21 | 17.65 | 16.58 | 14.68
Plate 6 | 17.32 | 16.99 | 15.32 | 17.68 | 16.59 | 14.36 | Plate 6 | 17.35 | 15.98 | 15.32 | 17.25 | 15.55 | 14.39 |  | Plate 6 | 16.65 | 16.29 | 14.29 | 17.12 | 16.35 | 14.59
Avg. | 17.4083 | 16.55 | 14.8367 | 17.1333 | 16.585 | 14.61 | Avg. | 17.35 | 16.445 | 14.8367 | 17.31 | 16.36 | 14.53 |  | Avg. | 17.365 | 16.1883 | 14.7767 | 17.4317 | 16.475 | 14.5033
SD | 0.32264 | 0.39136 | 0.61079 | 0.6339 | 0.3159 | 0.59666 | SD | 0.19349 | 0.41365 | 0.61079 | 0.28837 | 0.52058 | 0.30561 |  | SD | 0.37405 | 0.49757 | 0.48103 | 0.43605 | 0.26312 | 0.19117
RSD | 1.8534 | 2.3647 | 4.1168 | 3.6998 | 1.9047 | 4.0839 | RSD | 1.1152 | 2.5154 | 4.1168 | 1.6659 | 3.182 | 2.1033 |  | RSD | 2.154 | 3.0736 | 3.2553 | 2.5015 | 1.5971 | 1.3181
Formula | [6 empty] | Formula | [7 empty] | Formula
% of potency = antilog (2+ F/E X log i) | [6 empty] | % of potency = antilog (2+ F/E X log i) | [7 empty] | % of potency = antilog (2+ F/E X log i)
i=Ratio of dilution | [6 empty] | i=Ratio of dilution | [7 empty] | i=Ratio of dilution
E= (SH+TH)-(SL+TL)/4 | [6 empty] | E= (SH+TH)-(SL+TL)/4 | [7 empty] | E= (SH+TH)-(SL+TL)/4
F=(TH+TM+TL)-(SH+SM+SL)/3 | [6 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3 | [7 empty] | F=(TH+TM+TL)-(SH+SM+SL)/3
Calculation | [6 empty] | Calculation | [7 empty] | Calculation
SH+TH |  |  |  | 34.5417 |  |  | SH+TH |  |  |  | 34.66 |  |  |  | SH+TH |  |  |  | 34.7967
SL+TL |  |  |  | 29.4467 |  |  | SL+TL |  |  |  | 29.3667 |  |  |  | SL+TL |  |  |  | 29.28
TH+TM+TL |  |  |  | 48.3283 |  |  | TH+TM+TL |  |  |  | 48.2 |  |  |  | TH+TM+TL |  |  |  | 48.41
SH+SM+SL |  |  |  | 48.795 |  |  | SH+SM+SL |  |  |  | 48.6317 |  |  |  | SH+SM+SL |  |  |  | 48.33
E |  |  |  | 5.095 | 1.2738 |  | E |  |  |  | 5.2933 | 1.3233 |  |  | E |  |  |  | 5.5167 | 1.3792
F |  |  |  | -0.46667 | -0.15556 |  | F |  |  |  | -0.43167 | -0.14389 |  |  | F |  |  |  | 0.08 | 0.026667
i |  |  |  | 0.301 |  |  | i |  |  |  | 0.301 |  |  |  | i |  |  |  | 0.301
F/E |  |  |  | -0.12212 |  |  | F/E |  |  |  | -0.10873 |  |  |  | F/E |  |  |  | 0.019335
F/E X log i |  |  |  | -0.036759 |  |  | F/E X log i |  |  |  | -0.032728 |  |  |  | F/E X log i |  |  |  | 0.0058199
2+F/E X log i |  |  |  | 1.9632 |  |  | 2+F/E X log i |  |  |  | 1.9673 |  |  |  | 2+F/E X log i |  |  |  | 2.0058
% of potency |  |  |  | 91.83% |  |  | % of potency |  |  |  | 92.68% |  |  |  | % of potency |  |  |  | 101.4%
Assay in units/Per Vial |  |  |  | 918300 |  |  | Assay in units/Per Vial |  |  |  | 926800 |  |  |  | Assay in units/Per Vial |  |  |  | 1013900
Recovery |  |  |  | 91.83 |  |  | Recovery |  |  |  | 92.68 |  |  |  | Recovery |  |  |  | 101.39
Prepared by:- | [8 empty] | Reviewed by:- | [5 empty] | Prepared by:- |  |  |  |  | Reviewed by:-
Date:- | [8 empty] | Date:- | [5 empty] | Date:- |  |  |  |  | Date:-